## SwitchFix Cross Reference Guide
Switch Manufacturer | Switch Model | RMU | Switch Depth | Switch Intake | Switch Exhaust | Upsite Part Number | Alternative Upsite Part Number
ACS | 48 Cyclade | 1 |  | side | side | SF001-PS1
Alcatel | 6850 Omniswitch | 1 |  | side | side | SF001-PS1
Alcatel | 6900 Omniswitch | 1 | 22" | rear | front | SF001-PR1
Alcatel | 6900 Omniswitch | 1 | 22" | front | rear | Custom
Allied Telesys | AT9924T | 1 | 16.7" | front | rear | Custom
Arista | 7010T | 1 | 10" | front | rear | Custom
Arista | 7010T | 1 | 10" | rear | front | SF001-PR5
Arista | 7048-A | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7048-A | 1 | 16" | front | rear | Custom
Arista | 7048T | 1 | 16" | front | rear | Custom
Arista | 7048T | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7050SX | 1 | 18.1" | front | rear | Custom
Arista | 7050SX | 1 | 18.1" | rear | front | SF001-PR2
Arista | 7050SX | 2 | 18.1" | front | rear | Custom
Arista | 7050SX | 2 | 18.1" | rear | front | SF002-PR3
Arista | 7050T | 1 | 16" | front | rear | Custom
Arista | 7050T | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7050TX-128 | 2 | 18.1" | rear | front | SF002-PR3
Arista | 7050TX-128 | 2 | 18.1" | front | rear | Custom
Arista | 7060 | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7148SX | 1 | 16" | front | rear | Custom
Arista | 7148SX | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7150 | 1 | 16" | front | rear | Custom
Arista | 7150 | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7260 | 2 | 18" | rear | front | SF002-PR3
Arista | 7280CR | 2 | 22.2" | Rear | Front | SF002-PR2
Arista | 7280S | 1 | 16" | rear | front | SF001-PR4 | SF001-PR3
Arista | 7280SE | 1 | 20.6 | front | rear | Custom
Arista | 7280SE | 1 | 20.6 | rear | front | SF001-PR2
Aruba | 3400 | 1 | 11.7" | side | side | SF001-PS1
Blade Rackswitch | G8052 | 1 | 17.5" | front | rear | Custom
Blade Rackswitch | G8052 | 1 | 17.5" | rear | front | SF001-PR4 | SF001-PR3
Brocade | 300 | 1 | 12.07" | rear | front | SF001-PR5
Brocade | 300a | 1 | 12.07" | rear | front | SF001-PR5
Brocade | 624 | 1 | 17.2" | front | rear | Custom
Brocade | 624 | 1 | 17.2" | rear | front | SF001-PR2
Brocade | 624-E | 1 | 17.2" | front | rear | Custom
Brocade | 624-I | 1 | 17.2" | rear | front | SF001-PR2
Brocade | 624S | 1 | 17.2" | front/ side | rear | SF001-PD1
Brocade | 648 | 1 | 17.2" | front | rear | Custom
Brocade | 648 | 1 | 17.2" | rear | front | SF001-PR2
Brocade | 648-E | 1 | 17.2" | front | rear | Custom
Brocade | 648-I | 1 | 17.2" | rear | front | SF001-PR2
Brocade | 648S | 1 | 17.2" | front/ side | rear | SF001-PD1
Brocade | 6520 | 2 | 24.01" | front | rear | Custom
Brocade | 6520 | 2 | 24.01" | rear | front | SF002-PR1
Brocade | 6740 | 1 | 16.25" | front | rear | Custom
Brocade | 6740 | 1 | 16.25" | rear | front | SF001-PR4 | SF001-PR3
Brocade | 6740T | 1 | 21.12" | rear | front | SF001-PR2
Brocade | 6740T | 1 | 21.12" | front | rear | Custom
Brocade | 6740T-1G | 1 | 21.12" | front | rear | Custom
Brocade | 6740T-1G | 1 | 21.12" | rear | front | SF001-PR2
Brocade | 6940-144S | 2 | 18" | rear | front | Custom
Brocade | 6940-144S | 2 | 18" | front | rear | Custom
Brocade | 6940-36Q | 1 | 16.25" | rear | front | SF001-PR4 | SF001-PR3
Brocade | 6940-36Q | 1 | 16.25" | front | rear | Custom
Cisco | 1001-X-AES-AX | 1 | 18.5" | front | rear | Custom
Cisco | 2010P | 1 |  | side | side | SF001-PS1
Cisco | 2148 | 1 | 20" | rear | front | SF001-PR2
Cisco | 2148T-1GE | 1 | 20" | rear | front | SF001-PR2
Cisco | 2232 | 1 | 17.7" | rear | front | SF001-PR4 | SF001-PR3
Cisco | 2232PP-10GE | 1 | 17.7" | rear | front | SF001-PR4 | SF001-PR3
Cisco | 2248 | 1 | 17.7" | rear | front | SF001-PR4 | SF001-PR3
Cisco | 2248TP | 1 | 17.7" | front | rear | Custom
Cisco | 2248TP | 1 | 17.7" | rear | front | SF001-PR2
Cisco | 2348TQ | 1 | 17.07" | front | rear | Custom
Cisco | 2348TQ | 1 | 17.07" | rear | front | SF001-PR4 | SF001-PR3
Cisco | 2348UPQ | 1 | 14.05" | rear | front | SF001-PR5
Cisco | 2620 | 1 |  | side | rear | SF001-PS1
Cisco | 2901 | 1 | 17.3" | front | side | Custom
Cisco | 2911 | 2 | 12" | side | side | Custom
Cisco | 2921 | 2 | 15.5" | rear/side | front | Custom
Cisco | 2950 | 1 |  | side | rear | SF001-PD1
Cisco | 2951 | 2 | 18.5" | rear/side | front | Custom
Cisco | 2960 | 1 |  | side | rear | SF001-PD1
Cisco | 2960-24LC-S | 1 | 13" | sides | rear | SF001-PD1
Cisco | 2960-24-S | 1 | 9.3" | sides | rear | SF001-PD1
Cisco | 2960G | 1 | 12.9" | front | rear | Custom
Cisco | 2960G | 1 | 12.9" | rear | front | SF001-PR5
Cisco | 2960S | 1 |  | side | rear | SF001-PD1
Cisco | 2960-X | 1 | 11-14.5" | rear | front | SF001-PR5
Cisco | 3048 | 1 | 19.7" | front | rear | Custom
Cisco | 3048 | 1 | 19.7" | rear | front | SF001-PR2
Cisco | 3064 | 1 | 19.7" | rear | front | SF001-PR2
Cisco | 3064 | 1 | 19.7" | front | rear | Custom
Cisco | 31128PQ | 2 | 23.7 | front | rear | Custom
Cisco | 31128PQ | 2 | 23.7 | rear | front | SF002-PR1
Cisco | 3132Q | 1 | 19.7" | rear | front | SF001-PR2
Cisco | 3172 | 1 | 19.7" | rear | front | SF001-PR2
Cisco | 3524 | 1 | 18.38" | rear | front | SF001-PR2
Cisco | 3524 | 1 | 18.38" | front | rear | Custom
Cisco | 3548 | 1 | 18.38" | front | rear | Custom
Cisco | 3548 | 1 | 18.38" | rear | front | SF001-PR2
Cisco | 3550-24 | 1 |  | side | rear | SF001-PD1
Cisco | 3550-48 | 1 |  | side | rear | SF001-PD1
Cisco | 3560-24 | 1 |  | side | side | SF001-PS1
Cisco | 3560-48 | 1 |  | side | side | SF001-PS1
Cisco | 3560G-24 | 1 |  | side | side | SF001-PS1
Cisco | 3560G-48 | 1 |  | side | side | SF001-PS1
Cisco | 3560x | 1 | 18-19.5" | front/Side | rear | Custom
Cisco | 3650-24P | 1 | 17.625" | front/side | rear | Custom
Cisco | 3650-24T | 1 | 17.625" | front/side | rear | Custom
Cisco | 3650-48F | 1 | 19.125" | front/side | rear | Custom
Cisco | 3650-48P | 1 | 17.625" | front/side | rear | Custom
Cisco | 3650-48T | 1 | 17.625" | front/side | rear | Custom
Cisco | 3750 | 1 |  | front/side | rear | Custom
Cisco | 3750-24P | 1 | 17.5" | front/side | rear | Custom
Cisco | 3750-48P | 1 | 17.5" | front/side | rear | Custom
Cisco | 3750E | 1 |  | side | rear | SF001-PD1
Cisco | 3750E-12D | 1 |  | front | rear | Custom
Cisco | 3750G | 1 |  | side | side | SF001-PS1
Cisco | 3750X | 1 | 17.5" | front/side | rear | Custom
Cisco | 3850 | 1 | 17.5-19.2" | front | rear | Custom
Cisco | 3850 | 1 | 17.5-19.2" | rear | front | SF001-PR2
Cisco | 3850-48F-L | 1 | 19.2" | front | rear | Custom
Cisco | 4200 | 1 |  | sides | rear | SF001-PD1
Cisco | 4400 | 1 |  | right side | left side | SF001-PS1
Cisco | 4431-AX/K9 | 1 | 19.97" | front | rear | Custom
Cisco | 4501 | 2 | 19.25" | side | side | Custom
Cisco | 4900M | 2 |  | side | side | Custom
Cisco | 4924 | 1 | 16" | sides | rear | SF001-PD1
Cisco | 4928 | 1 | 16.1" | side | rear | SF001-PD1
Cisco | 4948 | 1 | 16.14" | sides | rear | SF001-PD1
Cisco | 4948E | 1 |  | front | rear | Custom
Cisco | 4948E-BDL | 1 |  | front | rear | Custom
Cisco | 4948E-E | 1 |  | front | rear | Custom
Cisco | 4948E-F | 1 | 19.4" | rear | front | SF001-PR2
Cisco | 4948E-F_BDL | 1 | 19.4" | rear | front | SF001-PR2
Cisco | 4948E-F-E | 1 | 19.4" | rear | front | SF001-PR2
Cisco | 4948E-F-S | 1 | 19.4" | rear | front | SF001-PR2
Cisco | 4948E-S | 1 |  | front | rear | Custom
Cisco | 4948-S | 1 |  | sides | rear | SF001-PD1
Cisco | 4980 | 1 |  | front | rear | Custom
Cisco | 4980 | 1 |  | rear | front | SF001-PR4 | SF001-PR3
Cisco | 5510 | 1 |  | front | rear | Custom
Cisco | 5540 | 1 |  | front | rear | Custom
Cisco | 5548 | 1 | 29.5" | front | rear | Custom
Cisco | 5548UP | 1 | 29.5" | rear | front | Custom
Cisco | 5550 | 1 |  | front | rear | Custom
Cisco | 5555 | 1 | 19.1" | front | rear | Custom
Cisco | 5672UP | 1 | 30" | rear | front | Custom
Cisco | 5672UP | 1 | 30" | front | rear | Custom
Cisco | 6503 | 4 |  | side | side | Custom
Cisco | 6504-E | 5 |  | side | side | Custom
Cisco | 6506-E (open post only) | 12 |  | side | side | Custom
Cisco | 6509 (open post only) | 15 |  | side | side | Custom
Cisco | 6509E (open post only) | 15 |  | r side | l side | Custom
Cisco | 6509-NEB | 20 |  | front | rear | Custom
Cisco | 6509-NEB-A | 21 |  | front | rear | Custom
Cisco | 6509-V-E | 21 |  | front | rear | Custom
Cisco | 6513E | 19 |  | r side | l side | Custom
Cisco | 6807-XL (open post only) | 10 |  | r side | l side | Custom
Cisco | 6880-X (open post only) | 5 |  | r side | l side | Custom
Cisco | 7009 (open post only) | 14 |  | side | side | Custom
Cisco | 7018 (open post only) | 25 |  | side | side | Custom
Cisco | 9001 | 2 |  | side | side | Custom
Cisco | 9006 | 10 |  | side | rear | Custom
Cisco | 903 | 3 | 9.22" | side | side | Custom
Cisco | 9148 | 1 | 18.89" | rear | front | SF001-PR2
Cisco | 93120TX | 2 | 22.5" | rear | front | SF002-PR2
Cisco | 93120TX | 2 | 22.5" | front | rear | Custom
Cisco | 93128TX | 3 | 22.5" | 2U rear | front | SF002-PR2
Cisco | 93180YC | 1 | 22.5" | rear | front | SF001-PR1
Cisco | 9336 | 2 | 22.5" | rear | front | SF002-PR2
Cisco | 9336PQ | 2 | 22.5" | front | rear | Custom
Cisco | 9336PQ | 2 | 22.5" | rear | front | SF002-PR2
Cisco | 9272 | 1 | 22.5" | front | rear | Custom
Cisco | 9272 | 1 | 22.5" | rear | front | SF001-PR1
Cisco | 9372PX | 1 | 22.5" | rear | front | SF001-PR1
Cisco | 9372PX | 1 | 22.5" | front | rear | Custom
Cisco | 9372TX | 1 | 22.5" | front | rear | Custom
Cisco | 9372TX | 1 | 22.5" | rear | front | Custom
Cisco | 9396 | 2 | 22.5" | rear | front | SF002-PR2
Cisco | 9396 | 2 | 22.5" | front | rear | Custom
Cisco | 9396PX | 2 | 22.5" | rear | front | SF002-PR2
Cisco | 9396PX | 2 | 22.5" | front | rear | Custom
Cisco | 9396TX | 2 | 22.5" | front | rear | Custom
Cisco | 9396TX | 2 | 22.5" | rear | front | SF002-PR2
Cisco | 9513 | 14 |  | side | side | Custom
Cisco | DS-C9396S | 2 | 22.28" | rear | front | SF002-PR2
Cisco | S50 | 1 |  | side | side | SF001-PS1
Dell | 2848 | 1 | 10" | side | side | SF001-PS1
Dell | 5524 | 1 |  | side | side | SF001-PS1
Dell | 5548 | 1 |  | side | side | SF001-PS1
Dell | 5548 | 1 |  | side | side | SF001-PS1
Dell | 6224 | 1 |  | side | side | SF001-PS1
Dell | 6248 | 1 |  | side | side | SF001-PS1
Dell | 7024 | 1 |  | side | side | SF001-PS1
Dell | 7048 series | 1 |  | side | side | SF001-PS1
Dell | 8024 series | 1 |  | front | rear | Custom
Dell | 8132 | 1 |  | front | rear | Custom
Dell | 8132F | 1 |  | front | rear | Custom
Dell | 8164 | 1 |  | front | rear | Custom
Dell | 8164F | 1 |  | front | rear | Custom
Dell | N4032F | 1 | 18.11" | front | rear | Custom
Dell | N4064 | 1 |  | front | rear | Custom
Dell | S3048 | 1 | 12.6" | rear | front | SF001-PR5
Dell | S4048 | 1 | 17.13" | rear | front | SF001-PR4 | SF001-PR3
Dell | S4810 | 1 | 18.11" | rear | front | SF001-PR2
Dell | S4810 | 1 | 18.11" | front | rear | Custom
Dell | S4820T | 1 | 18.11" | front | rear | Custom
Dell | S4820T | 1 | 18.11" | rear | front | SF001-PR2
Dell | S6000 | 1 | 18.11" | front | rear | Custom
Dell | S6000 | 1 | 18.11" | rear | front | SF001-PR2
Extreme Networks | Summit X430 | 1 |  | side | side | SF001-PS1
Extreme Networks | Summit X450A | 1 | 15.3" | side | side | SF001-PS1
Extreme Networks | Summit X670V-48x | 1 | 19.25" | front | rear | Custom
Extreme Networks | Summit X670V-48x | 1 | 19.25" | rear | front | SF001-PR2
F5 | F5-1500 | 1 |  | R-side | L-side | SF001-PS1
F5 | F5-1600 | 1 |  | front | rear | Custom
Fortinet | Fortigate 800C | 1 |  | sides | rear | SF001-PD1
Gigimon | 2404 | 2 | 19.25" | side | side | Custom
HP | 2824 | 1 |  | L-R sides | rear | SF001-PD1
HP | 2900-48G | 1 |  | side | side | SF001-PS1
HP | 2910AI-48G | 1 |  | side | side | SF001-PS1
HP | 2920 series | 1 | 13.23" | side | side | SF001-PS1
HP | 5130 JG937A | 1 | 14.2" | side | side | SF001-PS1
HP | 5406ZL | 4 |  | side | side | Custom
HP | 5412ZL | 7 |  | side | side | Custom
HP | 5500 EI | 1 |  | L-side | R-side | SF001-PS1
HP | 5500 JG312A | 1 | 16.5" | side | side | SF001-PS1
HP | 5500 SI | 1 |  | L-side | R-side | SF001-PS1
HP | 5500-48G-4SFP-HI | 1 | 16.5" | L-side | R-side | SF001-PS1
HP | 5700 | 1 | 18.1" | rear | front | SF001-PR2
HP | 5800 JC103A | 1 | 16.81" | side | side | SF001-PS1
HP | 5900 | 1 | 17.75" | rear | front | SF001-PR4 | SF001-PR3
HP | 6000B | 1 | 17.45" | rear | front | SF001-PR4 | SF001-PR3
HP | 6000B | 1 | 17.45" | front | rear | Custom
HP | DL360 G6 | 1 |  | front | rear | Custom
Huawei | CE5810/CE5850/CE5855 | 1 | 420mm | /Rear | /Front | SF001-PR4 | SF001-PR3
Huawei | S2700-18TP/26TP | 1 | 220mm | Left Side | Right Side | SF001-PD1
Huawei | S2700-52P | 1 | 220mm | Both sides | Rear | SF001-PD1
Huawei | S2700-PWR | 1 | 420mm | Both sides | Rear | SF001-PD1
Huawei | S3700 | 1 | 420mm | Left Side | Right Side | SF001-PD1
Huawei | S5270S=SI | 1 | 220mm | Left Side | Right Side | SF001-PD1
Huawei | S5700-EI | 1 | 420mm | Left Side | Right Side | SF001-PD1
Huawei | S5700-HI | 1 | 220mm | Both sides | Rear | SF001-PD1
Huawei | S5700-SI/LI | 1 | 420mm | Left Side | Right Side | SF001-PD1
Huawei | S5710-108C-PWR-HI | 1 | 470mm | Both sides | Rear | Custom
Huawei | S5720-EI-C/PC | 1 | 420mm | Left Side | Right Side | SF001-PD1
Huawei | S5720-EI-P/X | 1 | 220mm | Left Side | Right Side | SF001-PD1
Huawei | S5720-HI | 1 | 420mm | Left Side | Right Side | SF001-PD1
Huawei | S5720-SI | 1 | 420mm | Left Side | Right Side | SF001-PD1
Huawei | S6700-24-EI/S6700-48-EI | 1 | 420mm | Both sides | Rear | SF001-PD1
Huawei | S6720-30C | 1 | 420mm | Both sides | Rear | SF001-PD1
Huawei | S6720-54C | 1 | 420mm | Both sides | Rear | SF001-PD1
Intel Omnipath | 100 series | 1 | 17.15" | rear | front | SF001-PR4 | SF001-PR3
Juniper | EX2200-24P | 1 |  | sides | rear | SF001-PD1
Juniper | EX2200-24T | 1 |  | sides | rear | SF001-PD1
Juniper | EX2200-24T-DC | 1 |  | sides | rear | SF001-PD1
Juniper | EX2200-48P | 1 |  | sides | rear | SF001-PD1
Juniper | EX2200-48T | 1 |  | sides | rear | SF001-PD1
Juniper | EX2200-C-12P POE | 1 |  | na | na | Custom
Juniper | EX2200-C-12T non POE | 1 |  | top -sides | rear | SF001-PD1
Juniper | EX3300 | 1 | 12" | front | rear | Custom
Juniper | EX3300 | 1 | 12" | rear | front | SF001-PR5
Juniper | EX4200 | 1 |  | sides | rear | SF001-PD1
Juniper | EX4300 | 1 | 16.5" | rear | front | SF001-PR4 | SF001-PR3
Juniper | EX4300-48T-AFI | 1 | 16.5" | rear | front | SF001-PR4 | SF001-PR3
Juniper | EX4550 | 1 | 18.5" | rear | front | SF001-PR2
Juniper | J6350 | 2 | 21.13" | front | rear | Custom
Juniper | MAG6610 | 1 | 27.25" | front | rear | Custom
Juniper | MX480 | 8 |  | side | side | Custom
Juniper | NS5200 | 2 |  | side | side | Custom
Juniper | QFX5100-48S-AFI | 1 | 20.5" | rear | front | SF001-PR2
Juniper | QFX5100-48T-AFI | 1 | 20.48" | front | rear | Custom
Juniper | QFX5100-48T-AFI | 1 | 20.48" | rear | front | SF001-PR2
Juniper | SA4000 | 1 |  | side | rear | SF001-PS1
Juniper | SRX1400 | 3 | 13.8" | l-side | r-side | Custom
Juniper | SRX240 | 1 |  | side | side | SF001-PS1
Juniper | SRX3600 | 5 | 25.5" | side | side | Custom
Juniper | SRX5400 | 5 | 24.5" | r-side | l-side | Custom
Juniper | SRX550 | 2 | 18.2" | side | side | Custom
Juniper | SRX650 | 2 | 18.2" | l-side | r-side | Custom
Juniper | SSG320M | 1 | 15.1" | side | side | SF001-PS1
Juniper | SSG550M | 2 |  | front | rear | Custom
Juniper | WLC2800 | 2 |  | sides | rear | Custom
Mellanox | SX-6036G | 1 | 24.7" | rear | front | Custom
NetGear | GS7252TXS | 1 | 10.1" | side | side | SF001-PS1
NetGear | GSM 7224S | 1 |  | sides | rear | SF001-PD1
NetGear | GSM 7252S (M5300) | 1 |  | sides | rear | SF001-PD1
NetGear | XSM 7224S |  |  | front | rear | Custom
Palo Alto Networks | M100 | 1 |  | front | rear | Custom
Palo Alto Networks | PA 5060 | 2 | 21" | side | side | Custom
Palo Alto Networks | PA3020 | 1 | 17" | side | side | SF001-PS1
SMC | SMCGS18C-Smart | 1 | 11" | side | side | SF001-PS1
Sonic | NSA 3500 | 1 |  | side | rear | SF001-PD1
Watchguard-Firebox | M440 | 1 | 15" | front | rear | Custom
ZTE | 2850-18TM/26TM | 1 | 200mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 2850-52TC | 1 | 280mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 2850-9TT/9TS | 1 | 130mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 2950-10TC/2950-10PC | 1 | 220mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 2950-18TC/28TC/18PC/ | 1 | 220mm | Left Side | Right Side | SF001-PD1
ZTE | 2950-28PM/2950-52PM | 1 | 440mm | Left Side | Right Side | SF001-PD1
ZTE | 2950-52TS | 1 | 280mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 3928E | 1 | 220mm | Left Side | Right Side | SF001-PD1
ZTE | 3950-28TM/28PM/28SM | 1 | 280mm | Left Side | Right Side | SF001-PD1
ZTE | 3950-52TC | 1 | 360mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 3952E | 2 | 220mm | Left Side | Right Side | Custom
ZTE | 5250-12TC/5250-12PC | 1 | 220mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 5250-28TM-L | 1 | 440mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 5250-28TS-L | 1 | 220mm | Left Side | Right Side/Rear | SF001-PD1
ZTE | 5916E/5928E | 1 | 220mm | Left Side | Right Side | SF001-PD1
ZTE | 5950-24T/28TM/28PM | 1 | 360mm | Left Side | Right Side | SF001-PD1
ZTE | 5950-28TM | 1 | 320mm | Left Side | Right Side | SF001-PD1
ZTE | 5950-48T/52SM | 1 | 400mm | Left Side | Right Side | SF001-PD1
ZTE | 5952E | 2 | 220mm | Left Side | Right Side | Custom
ZTE | 5960 | 1 | 440mm | /Rear | /Front | SF001-PR4 | SF001-PR3
Cisco | 9236 | 1 | 22.5" | Rear | Front | SF001-PR1
Arista | 7260QX | 2 | 18" | Rear | Front | SF002-PR3
NetGear | M4300 | 1 |  | Front | Rear | Custom
Brocade | 6510 | 1 | 17.23" | Rear | Front | SF001-PR4 | SF001-PR3
ARISTA | 7050S | 1 | 16" | Rear | Front | SF001-PR4 | SF001-PR3
ARISTA | 7050S | 1 | 16" | Front | Rear | Custom
Cisco | SG300 | 1 | 13.78: | Side | Side | SF001-PS1
Cisco | SG350 | 1 | 13.78" | Side | Side | SF001-PS1
Audiocodes | Mediant 3000 | 2 | 30CM | Side | Side | Custom
Cisco | NCS-5501 | 1 | 21.7" | Rear | Front | SF001-PR1
Cisco | NCS-5501 | 1 | 21.7" | Front | Rear | Custom
Cisco | ASR 903 | 3 |  | Side | Side | Custom
Cisco | ASR 907 | 7 |  | Side | Side | Custom
Cisco | ASR 9006 | 10 |  | Side | Rear | Custom
Nokia | 7750-SR7 | 8 |  | Side | Rear | Custom
Huawei | CX-600-X1 | 3 |  | Side | Side | Custom
Huawei | CX600-X2 | 5 |  | Side | Side | Custom
Avaya | 4826 | 1 |  | Side | Side | SF001-PS1
Avaya | 4850 | 1 |  | Side | Side | SF001-PS1
Arista | 7280QR | 1 | 20.6" | Rear | Front | SF001-PR2
Arista | 7280QR | 1 | 20.6" | Front | Rear | Custom
Arista | 7280SR | 1 | 16" | Rear | Front | SF001-PR4 | SF001-PR3
Arista | 7280SR | 1 | 16" | Front | Rear | Custom
Arista | 7280TR | 1 | 16" | Rear | Front | SF001-PR4 | SF001-PR3
Arista | 7280TR | 1 | 16" | Front | Rear | Custom
Arista | 7050SX-128 | 2 | 18.1" | Rear | Front | SF002-PR3
Arista | 7050SX-64 | 1 | 16" | Rear | Front | SF001-PR4 | SF001-PR3
Arista | 7050SX-72Q | 1 | 16" | Rear | Front | SF001-PR4 | SF001-PR3
Arista | 7260QX-64 | 2 | 18" | Rear | Front | SF002-PR3
Arista | 7280CR-48 | 2 | 22.2" | Rear | Front | SF002-PR2
Arista | 7280SE-64 | 1 | 20.6" | Rear | Front | SF001-PR2
Arista | 7280SR-48C6 | 1 | 16" | Rear | Front | SF001-PR4 | SF001-PR3
Cisco | 3048TP | 1 | 19.7" | Rear | Front | SF001-PR2
Cisco | 9272Q | 2 | 24.5" | Rear | Front | SF002-PR1
Cisco | 9236C | 1 | 22.5" | Rear | Front | SF001-PR1
Avaya | VSP7254XSQ | 1 | 18.25" | Rear | Front | SF001-PR2
Avaya | VSP7254XSQ | 1 | 18.25" | Front | Rear | Custom
Juniper | QFX5200 | 1 | 20.48" | Rear | Front | SF001-PR2
Brocade | 6505 | 1 | 17.45" | Rear | Front | SF001-PR4 | SF001-PR3
HP | A5500 48G EL | 1 |  | Side | side | SF001-PS1